#### June 2026

Checklist of Leading Practices: Effectively Considering the Distribution System in Integrated Resource Plans

Grace Relf, Paul DeMartini,1 Jasmine McAdams, Lisa C. Schwartz, and Vinita Srinivasan, Lawrence Berkeley National Laboratory

1Newport Consulting Group

The following checklist accompanies the report, Effectively Considering the Distribution System in Integrated Resource Plans (IRPs). The list summarizes leading practices identified in this study to help guide integration of distribution system elements in IRP using processes that are transparent, data-driven, and capable of optimizing investments across all levels of the electricity system. While the checklist includes the primary actor(s) for each item — public utility commission (PUCs), utilities, or both — stakeholder engagement is a hallmark of effective planning processes. For example, State Energy Offices and utility consumer advocates play important roles in identifying state and utility customer interests and actions that support those interests.

| Action | Primary Actor(s) |
| --- | --- |
| Regulatory & Institutional Alignment |  |
| Develop regulatory frameworks for integrated or coordinated system planning | PUCs |
| Align utility regulatory guidance for IRP and distribution system planning (e.g., specify expectations for consistent forecasts and scenarios) | PUCs |
| Develop a roadmap to improve practices over time and establish a common vision | Utilities |
| Aligned Timelines & Horizons |  |
| Sequence planning cycles so distribution insights (e.g., available hosting capacity) feed into IRP decisions on time, and vice versa (e.g., quantity of grid-edge resources [GERs] selected in IRP) | PUCs |
| Stakeholder Engagement & Transparency |  |
| Share scenarios, assumptions, and results openly with public utility commissions and stakeholders to solicit input on consistency | Utilities |
| Incorporate stakeholder input from various forums into unified forecast assumptions, scenario design, and review processes | Utilities |
| Common Data & Assumptions |  |
| Establish unified methodologies, associated load and GER forecasts, and adoption scenarios across IRP and distribution planning | Utilities, PUCs |
| Maintain a unified integrated data set in an accessible repository for sharing inputs and results | Utilities |
| Disaggregated Distribution Forecasting |  |
| Align IRP and feeder and substation-level distribution forecasts through a reconciliation method to capture both local and bulk system needs | Utilities |
| Hosting Capacity & Deliverability |  |
| Assess results of hosting capacity and GER deliverability studies in the IRP process | Utilities |
| Publish hosting capacity maps/tools to guide developer siting decisions for procurements coming out of IRPs | Utilities, PUCs |
| Convergent vs. Divergent Value Analysis |  |
| Screen all eligible identified electricity system needs for cost-effective non-wires alternatives | Utilities |
| Identify when, where, and how GERs provide simultaneous (convergent) benefits to bulk power and distribution needs and evaluate these potential solutions in more detail | Utilities |
| Flag cases where GERs help one level of the electricity system but not the other (divergent) and determine possible mitigations | Utilities |
| Bulk Power & Distribution System Resource Co-Optimization |  |
| Use technology-neutral procurements | Utilities |
| Include GERs as a selectable resource in IRPs and use technology-neutral methodologies for performance accreditation to allow GERs to contribute to resource adequacy assessments | Utilities |
| Incorporate findings from coordinated planning into procurement processes and validate planning assumptions for cost and performance based on procurements | Utilities |

## Disclaimer and Copyright Notice

This document was prepared as an account of work sponsored by the United States Government. While this document is believed to contain correct information, neither the United States Government nor any agency thereof, nor The Regents of the University of California, nor any of their employees, makes any warranty, express or implied, or assumes any legal responsibility for the accuracy, completeness, or usefulness of any information, apparatus, product, or process disclosed, or represents that its use would not infringe privately owned rights. Reference herein to any specific commercial product, process, or service by its trade name, trademark, manufacturer, or otherwise, does not necessarily constitute or imply its endorsement, recommendation, or favoring by the United States Government or any agency thereof, or The Regents of the University of California. The views and opinions of authors expressed herein do not necessarily state or reflect those of the United States Government or any agency thereof, or The Regents of the University of California. Ernest Orlando Lawrence Berkeley National Laboratory is an equal opportunity employer.

This manuscript has been authored by an author at Lawrence Berkeley National Laboratory under Contract No. DE-AC02-05CH11231 with the U.S. Department of Energy. The U.S. Government retains, and the publisher, by accepting the article for publication, acknowledges, that the U.S. Government retains a non-exclusive, paid-up, irrevocable, worldwide license to publish or reproduce the published form of this manuscript, or allow others to do so, for U.S. Government purposes.

For more information, visit us at https://emp.lbl.gov/
For all of our downloadable publications, visit https://emp.lbl.gov/publications

Also called distributed energy resources.